Table S12 Accuracy results of UPLC-based QAMS analytical method in Puerariae Flos.

| Analyte | Recovery (%) | RSDa (%) |
| --- | --- | --- |
| Genistin | 100.043 ± 0.031 | 0.031 |
| Tectoridin | 99.957 ± 0.054 | 0.054 |
| Genistein | 100.006 ± 0.024 | 0.024 |
| Tectorigenin | 100.011 ± 0.062 | 0.062 |

a RSD (%) = 100 × SD / mean.